September 2011

| Americas Bosch Security Systems, Inc. 130 Perinton Parkway Fairport, New York, 14450, USA Phone: + 1 800 289 0096 Fax: +1 585 223 9180 security.sales@us.bosch.com www.boschsecurity.us | Europe, Middle East, Africa Bosch Security Systems B.V. P.O. Box 80002 5600 JB Eindhoven, The Netherlands Phone: + 31 40 2577 284 Fax: +31 40 2577 330 emea.securitysystems@bosch.com www.boschsecurity.com | Asia-Pacific Robert Bosch (SEA) Pte Ltd, Security Systems 11 Bishan Street 21 Singapore 573943 Phone: +65 6571 2600 Fax: +65 6571 2698 apr.securitysystems@bosch.com www.boschsecurity.com |
| --- | --- | --- |

Product Guide Specification

SECTION 28 23 29

VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

BOSCH AEGIS SUPERLED WHITE LIGHT ILLUMINATOR

- – GENERAL

  - SUMMARY

    - Section Includes

      - Video Surveillance Remote Devices and Sensors

    - Related Sections

      - Section [26 55 53 – Special Purpose Lighting – Security Lighting].

      - Section [28 23 13 – Video Surveillance Control and Management Systems].

      - Section [28 23 16 – Video Surveillance Monitoring and Supervisory Interfaces].

      - Section [28 23 19 – Digital Video Recorders and Analog Recording Devices].

      - Section [28 23 23 – Video Surveillance Systems Infrastructure].

**********Specifier’s note: Include those standards referenced elsewhere in this SECTION.

  - REFERENCES

    - Federal Communications Commission (FCC) (www.fcc.gov)

      - FCC CFR 47 part 15 class B – Telecommunications – Radio Frequency Devices – Digital Device Emission

    - International Organization for Standardization (ISO)

      - 9001 – Quality System

  - DEFINITIONS

  - SYSTEM DESCRIPTION

    - Video Surveillance Remote Devices

      - Bosch AEGIS SuperLED White Light Illuminator

    - Performance Requirements

      - The white light illuminator shall use Constant Light technology for consistent illumination over the lifetime of the product.

      - The white light illuminator shall offer 3D Diffuser technology.

      - The white light illuminator shall be designed specifically for CCTV applications.

      - The white light illuminator shall be designed to IP67 ingress protection for operation in harsh weather conditions.

      - The white light illuminator shall offer a high efficiency surface mounted LED array with current-limited integral power circuit.

  - SUBMITTALS

    - Submit under provisions of Section [01 33 00].

    - Product Data:

      - Manufacturer’s data, user and installation manuals for all equipment and software programs including computer equipment and other equipment required for complete video management system.

    - Shop Drawings; include

      - System device locations on architectural floor plans.

      - Full Schematic of system, including wiring information for all devices.

    - Closeout Submittals

      - User manual.

      - Parts list.

      - System device locations on architectural floor plans.

      - Wiring and connection diagram.

      - Maintenance requirements.

  - QUALITY ASSURANCE

    - Manufacturer:

      - Minimum of [10] years experience in manufacture and design Video Surveillance Devices.

      - Manufacturer’s quality system: Registered to ISO 9001 Quality Standard.

    - Video Surveillance System

      - Listed by [UL] [EN] [FCC] specifically for the required loads.  Provide evidence of compliance upon request.

    - Installer:

      - Minimum of [2] years experience installing Video IP Surveillance System.

  - DELIVERY, STORAGE AND HANDLING

    - Comply with requirements of Section [01 60 00].

    - Deliver materials in manufacture’s original, unopened, undamaged containers; and unharmed original identification labels.

    - Protect store materials from environmental and temperature conditions following manufacturer’s instructions.

    - Handle and operate products and systems according to manufacturer’s instructions.

    - Bosch provides off-the-shelf availability for our top selling products and same-day or 24-hour shipping.

  - WARRANTY

    - Provide manufacturer’s warranty covering [5] years for replacement and repair of defective equipment.

  - MAINTENANCE

    - Make ordering of new equipment for expansions, replacements, and spare parts available to dealers and end users.

    - Provide factory direct technical support from 8:00 a.m. to 8:00 p.m. EST via phone and e-mail.

- – PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer:

[Bosch Security Systems, Inc.

130 Perinton Parkway

Fairport, New York, 1450, USA

Phone: + 1 800 289 0096

Fax: + 1 585 223 9180

security.sales@us.bosch.com

www.boschsecurity.us]

[Bosch Security Systems B.V.

P.O. Box 80002

5600 JB Eindhoven, The Netherlands

Phone: + 31 40 2577 284

Fax: +31 40 2577 330

emea.securitysystems@bosch.com

www.boschsecurity.com]

[Bosch Security Systems Pte Ltd

Robert Bosch (SEA) Pte Ltd, Security Systems

11 Bishan Street 21

Singapore 573943

Phone: +65 6571 2600

Fax: +65 6571 2698

apr.securitysystems@bosch.com

www.boschsecurity.com]

    - Substitutions: [Not permitted.] [Under provisions of Division 1.]

      - [All proposed substitutions must be approved by the Architect or Engineer professional.]

      - [Proposed substitutions must provide a line-by-line compliance documentation.]

**********Specifier’s note: Select Camera System Series based on project requirement.

  - BOSCH AEGIS SUPERLED WHITE LIGHT ILLUMINATOR [SLED10-WBD] [SLED20‑WBD] [SLED30‑WBD] [SLED60‑WBD] [SLED95‑WBD] [SLED120‑WBD]

    - General Characteristics:

      - The white light illuminator shall use Constant Light technology for consistent illumination over the lifetime of the product.

      - The white light illuminator shall offer 3D Diffuser technology.

      - The white light illuminator shall be designed specifically for CCTV applications.

      - The white light illuminator shall be designed to IP67 ingress protection for operation in harsh weather conditions.

      - The white light illuminator shall offer a high efficiency surface mounted LED array.

      - The white light illuminator shall be a solid state LED type.

      - The white light illuminator shall provide long-range illumination.

      - The white light illuminator shall operate in harsh weather conditions.

      - The white light illuminator shall have been tested for outdoor usage.

      - The white light illuminator shall be powered by a 12 to 24 VDC or 24 VAC power supply.

    - Performance

      - The white light illuminator shall be compact, robust and sealed for performance under all weather conditions.

      - The white light illuminator shall offer high-efficiency surface mounted LED array.

      - The white light illuminator shall be available in beam patterns of 10°, 30°, 60°, and 120°.

      - The white light illuminator shall produce wide-angle illumination with beam patterns up to 120°, reducing the number of illuminators required to cover a given area.

      - The white light illuminator shall have color temperature of nominal 4200 K.

      - The white light illuminator shall operate independently of any cooling fan or similar device, either internal or external.

      - The white light illuminator shall dissipate thermal energy through an integral heat sink.

      - The white light illuminator shall have a solid state design without any moving mechanical parts.

      - The white light illuminator shall enable increased surveillance range, wider beam patterns, and evenly illuminated nighttime surveillance with 3D Diffuser technology.

      - The white light illuminator shall eliminate hotspots in the foreground and underexposed backgrounds with 3D Diffuser technology.

      - The white light illuminator shall have Constant Light technology that provides a constant light output over the lifetime of the product.

      - The white light illuminator shall have a constant light output when operated at an ambient temperature of -40°C to +50°C (-40°F to+122°F).

      - The white light illuminator shall enable optimal night-time performance of megapixel cameras, pan-tilt cameras, speed domes and other critical surveillance applications.

      - The white light illuminator shall enable proper night-time function of video analytics and other intelligent video software.

      - The white light illuminator shall be switchable by an external device via a built-in telemetry input.

      - The white light illuminator shall have a built-in relay output to trigger another device when switching on / off with onboard light sensor.

    - Achievable Distances

      - The white illuminator with a 10° beam pattern shall have an achievable distance of 85 m (275 ft) and a Horizontal Field of View of 15 m (50 ft).

      - The white illuminator with a 30° beam pattern shall have an achievable distance of 50 m (165 ft) and a Horizontal Field of View of 25 m (85 ft).

      - The white illuminator with a 60° beam pattern shall have an achievable distance of 35 m (115 ft) and a Horizontal Field of View of 40 m (130 ft).

      - The white illuminator with a 120° beam pattern shall have an achievable distance of 20 m (65 ft) and a Horizontal Field of View of 70 m (230 ft).

    - Power Requirements

      - The white light illuminator shall be powered by a low voltage, universal power supply.

      - The white light illuminator shall require an input of 12-24 VDC, or 24 VAC (50/60Hz).

      - The white light illuminator shall consume a nominal 90 W at full power.

      - The white light illuminator shall be supplied with 4 m (13 ft) high-temperature power cable.

    - Environmental

      - The white light illuminator shall be environmentally sealed for all-weather use.

      - The white light illuminator shall be designed to IP67 environmental standards.

      - The white light illuminator shall have an operating temperature range of 
-40°C to +50°C (-40°F to +122°F).

    - Construction

      - The white light illuminator shall have a housing made of cast and extruded aluminum.

      - The white light illuminator heat sink shall be anodized black.

      - The white light illuminator shall have a white front fascia with a clear window.

      - The white light illuminator shall be compact and robust for easy handling.

      - The white light illuminator shall be supplied with a U-bracket for easy mounting and adjustment purposes.

      - The white light illuminator shall have dimensions (W x H x D) 
of 270 x 239 x 144 mm (10.63 x 9.41 x 4.49 in.)

      - The white light illuminator shall weigh no more than 3.8 kg (8.4 lbs).

    - Specifications:

      - Color: Black anodized heat sink with white  front fascia with clear window

      - LEDs: High efficiency surface mounted LED array with current-limited integral power circuit

      - Color Temperature: 4200 K, nominal

      - Beam Patterns: 10°, 20°, 30°, 60°, 95°, and 120°

      - Consumption: 50–90 W (90 W max.)

      - Input Voltage: 12 to 24 VDC or 24 VAC, 50/60 Hz

      - Temperature Range: -40°C to +50°C (-40°F to+122°F) max. on full power

      - Environmental: IP67

      - Construction: Robust, aluminum construction with acrylic front fascia

      - Weight: 3.8 kg (8.4 lb)

      - Dimensions: 305 x 240 x 110 mm (11.9 x 9.4 x 4.4 in.)

      - Power Cable: 4 m (13 ft)

      - Bracket: Wall mount U-bracket supplied

  - ACCESSORIES

    - PSU-224-DC100 Universal Power Supply

    - UFLED-CI-5M Switching Cable

    - UFLED-CL-1M Link Cable

- – EXECUTION

  - EXAMINATION

    - Examine areas to receive devices and notify adverse conditions affecting installation or subsequent operation.

    - Do not begin installation until unacceptable conditions are corrected.

  - PREPARATION

    - Protect devices from damage during construction.

  - INSTALLATION

    - Install devices in accordance with manufacturer’s instruction at locations indicated on the floor drawings plans.

    - Ensure selected location is secure and offers protection from accidental damage.

    - Location must provide reasonable temperature and humidity conditions, free from sources of electrical and electromagnetic interference.

  - FIELD QUALITY CONTROL

    - Test mounting screws for proper tightness per the installation guide.

    - Test proper operation of all video system devices.

    - Determine and report all problems to the manufacturer’s customer service department.

  - ADJUSTING

    - Make proper adjustment to video system devices for correct operation in accordance with manufacturer’s instructions.

    - Make any adjustment of camera settings to comply with specific customer’s need.

  - DEMOSTRATION

    - Demonstrate at final inspection that video management system and devices function properly.

END OF SECTION

# Text boxes

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, based on MasterFormat 2004 and The Project Resource Manual—CSI Manual of Practice. The Manufacturer is responsible for technical accuracy.

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Words and sentences within brackets [ ] are choices to include or exclude a particular item or statement.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.