July 2013

| Americas Bosch Security Systems, Inc. 130 Perinton Parkway Fairport, New York, 14450, USA Phone: + 1 800 289 0096 Fax: +1 585 223 9180 security.sales@us.bosch.com www.boschsecurity.us | Europe, Middle East, Africa Bosch Security Systems B.V. P.O. Box 80002 5617 BA Eindhoven, The Netherlands Phone: + 31 40 2577 284 Fax: +31 40 2577 330 emea.securitysystems@bosch.com www.boschsecurity.com | Asia-Pacific Robert Bosch (SEA) Pte Ltd, Security Systems 11 Bishan Street 21 Singapore 573943 Phone: +65 6571 2808 Fax: +65 6571 2699 apr.securitysystems@bosch.com www.boschsecurity.asia |
| --- | --- | --- |

Product Guide Specification

SECTION 28 23 29

VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

BOSCH FLEXIDOME corner 9000 IR CAMERA

- – GENERAL

  - SUMMARY

    - Section Includes

      - Video Surveillance Remote Devices.

    - Related Sections

      - Section [28 23 13 – Video Surveillance Control and Management Systems].

      - Section [28 23 16 – Video Surveillance Monitoring and Supervisory Interfaces].

      - Section [28 23 19 – Digital Video Recorders and Analog Recording Devices].

      - Section [28 23 23 – Video Surveillance Systems Infrastructure].

**********Specifier’s note: Include those standards referenced elsewhere in this SECTION.

  - REFERENCES

    - European Norm

      - CE Declaration of Conformity

      - EN55022 class B (CE) – Information Technology Equipment – Radio Disturbance Characteristics – Limits and Methods of Measurement for Emission

    - Federal Communications Commission (FCC) (www.fcc.gov)

      - FCC CFR 47 part 15 class B – Telecommunications – Radio Frequency Devices – Digital Device Emission.

    - Immunity

      - EN50121-4 (CE) – Railway applications – Electromagnetic compatibility. Emission and immunity of the signaling and telecommunications apparatus.

      - EN50130-4 (CE) (PoE, +12 VDC, 24 VAC) Alarm Systems, Part 4 – Electromagnetic Compatibility – Product Family Standard: Immunity Requirements for Components of Fire, Intruder and Social Alarm Systems

    - International Electrotechnical Commission (IEC)

      - IEC 62471 Photobiological safety of lamps and lamp systems

    - International Organization for Standardization (ISO)

      - 9001 – Quality System.

    - Safety

      - EN60950-1 - Information technology equipment. Safety. General requirements

      - UL60950-1 Second Edition - Information technology equipment. Safety. General requirements

      - CAN/CSA 22.2 No 60950-1 - Information technology equipment. Safety. General requirements

    - Underwriters Laboratories, Inc. (UL) (www.ul.com)

      - UL certified

  - DEFINITIONS

    - Infrared Illuminator: a light source working in the infrared frequency range is called an infrared illuminator.

    - Automatic Gain Control (AGC):  a process by which gain is automatically adjusted as a function of input or other specified parameter.

    - Sensitivity: refers to the minimum level of light the sensor needs to generate an acceptable video picture, and is measured in lux.

    - Day/Night (infrared sensitive): A camera that has normal color operation in situations where there is sufficient illumination (day conditions), but where the sensitivity can be increased when there is little light available (night conditions). This is achieved by removing the infrared cut filter required for good color rendition. The sensitivity can be further enhanced by integrating a number of fields to improve the signal-to-noise ratio of the camera (this may introduce motion blur).

    - Privacy Masking: The ability to mask out a specific area to prevent it from being viewed in order to comply with privacy laws and particular site requirements.

    - Smart BLC (Back Light Compensation): Smart back-light compensation allows the camera to automatically compensate for bright areas of a high contrast scene without having to define a window or area.

  - SYSTEM DESCRIPTION

    - Video Surveillance Remote Devices

      - FLEXIDOME corner 9000 IP Camera

    - Performance Requirements

      - The camera shall be Integrated Day Night active-infrared type.

      - The camera shall provide daytime color performance.

      - The camera shall provide night-time active-infrared monochrome performance.

      - The camera shall have a progressive scanning system.

      - The camera shall be vandal resistant.

      - The camera shall be designed to be grip-less and anchor-free for maximum safety

      - The camera shall be energy efficient, drawing no more than 12.3W maximum.

      - The camera shall operate with high reliability.

      - The camera shall have been rigorously tested and proven for use by the manufacturer.

  - SUBMITTALS

    - Submit under provisions of Section [01 33 00].

    - Product Data:

      - Manufacturer’s data, user and installation manuals for all equipment and software programs including computer equipment and other equipment required for complete video management system.

    - Shop Drawings; include

      - System device locations on architectural floor plans.

      - Full Schematic of system, including wiring information for all devices.

    - Closeout Submittals

      - User manual.

      - Parts list.

      - System device locations on architectural floor plans.

      - Wiring and connection diagram.

      - Maintenance requirements.

  - QUALITY ASSURANCE

    - Manufacturer:

      - Minimum of [10] years experience in manufacture and design Video Surveillance Devices.

      - Manufacturer’s quality system: Registered to ISO 9001 Quality Standard.

    - Video Surveillance System

      - Listed by [UL] [EN] [FCC] specifically for the required loads.  Provide evidence of compliance upon request.

    - Installer:

      - Minimum of [5] years experience installing Video IP Surveillance System.

  - DELIVERY, STORAGE AND HANDLING

    - Comply with requirements of Section [01 60 00].

    - Deliver materials in manufacture’s original, unopened, undamaged containers; and unharmed original identification labels.

    - Protect store materials from environmental and temperature conditions following manufacturer’s instructions.

    - Handle and operate products and systems according to manufacturer’s instructions.

    - Bosch provides off-the-shelf availability for our top selling products and same-day or 24-hour shipping.

  - WARRANTY

    - Provide manufacturer’s warranty covering [3] years for replacement and repair of defective equipment.

  - MAINTENANCE

    - Make ordering of new equipment for expansions, replacements, and spare parts available to dealers and end users.

    - Provide factory direct technical support from 8:00 a.m. to 8:00 p.m. via phone and e-mail.

- – PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer:

[Bosch Security Systems, Inc.

130 Perinton Parkway

Fairport, New York, 1450, USA

Phone: + 1 800 289 0096

Fax: + 1 585 223 9180

security.sales@us.bosch.com

www.boschsecurity.us]

[Bosch Security Systems B.V.

P.O. Box 80002

5617 BA Eindhoven, The Netherlands

Phone: + 31 40 2577 284

Fax: +31 40 2577 330

emea.securitysystems@bosch.com

www.boschsecurity.com]

[Robert Bosch (SEA) Pte Ltd, Security Systems

11 Bishan Street 21

Singapore 573943

Phone: +65 6571 2808

Fax: +65 6571 2699

apr.securitysystems@bosch.com

www.boschsecurity.asia]

    - Substitutions: [Not permitted.] [Under provisions of Division 1.]

      - [All proposed substitutions must be approved by the Architect or Engineer professional.]

      - [Proposed substitutions must provide a line-by-line compliance documentation.]

**********Specifier’s note: Select Camera System Series based on project requirement.

  - BOSCH FLEXIDOME corner IP CAMERA 
[VCN-90095]

    - Performance:

      - The camera shall be able to view the entire floor and all four walls of a 15 foot square room (4.5x4.5 m), including the two walls to which it is attached.

      - The camera shall be available with a 2.0 mm wide-angle lens allowing a full 139º H-FoV and 104º V-FoV of the entire room.

      - The camera shall have no exposed wiring or anchor points, making it highly vandal-resistant and suitable for suicide watch.

      - The camera shall have automatic, photocell-controlled day-night switching.

      - The camera shall have a 1/3” CCD sensor with mechanical filter technology for vivid daytime color and effective night-time performance under infrared illumination.

      - The camera shall produce a 720TVL.

      - The camera shall produce a signal to noise ratio of greater than 54 dB (AGC off) under normal daylight conditions.

      - The camera shall have a dynamic range of greater than 94 dB under normal daylight conditions (HDR on).

      - The camera shall incorporate automatic switching between day and night modes.

      - The camera shall have daytime color mode.

      - The camera shall have night-time IR monochrome mode.

      - The camera shall operate at zero lux in night-time monochrome mode.

      - The camera shall have high light sensitivity

Color: 0.04 lx (0.00372 fc)

Monochrome: 0.0 lx (IR on)

      - The camera design shall eliminate the possibility of focus shift to ensure accurate focus for a daytime average wavelength of 500 nm and a night-time average wavelength of 940 nm.

      - The camera shall produce accurate color representation by eliminating IR bleed and/or other color distortions.

      - The camera shall produce outstanding contrast characteristics for reduced glare and streaking.

      - The camera shall incorporate infrared illumination to reduce image noise at night, enabling better compression, reducing bit rates and enhancing network stability.

      - The camera shall be equipped with 3 high efficiency LED infrared array allowing for clear pictures in zero lux conditions.

      - The LEDs shall be optimized to produce an evenly-distributed field of illumination at 940 nm.

      - The LEDs shall be intensity-adjustable.

      - The camera shall provide a multi-language On-screen display (OSD).

      - The camera shall have a built-in control panel to allow on-site adjustment of the camera settings.

      - The camera shall provide a built-in test pattern generator for testing and fault-finding.

      - The camera shall have line lock in AC power mode to stabilize the image.

    - Construction

      - The camera shall be ruggedized for vandal resistance.

      - The camera shall be in a truncated tetrahedron shape ensuring a flush installation into ceiling/wall corners.

      - The camera shall have no exposed wiring or anchor points, making it highly vandal-resistant and suitable for suicide watch.

      - The camera shall incorporate a 45° tilted face to enable viewing of entire rooms, including directly underneath the camera itself.

      - The camera shall have a flush-mounted front faceplate secured in place with three tamper-resistant screws.

      - The camera shall have a gasket behind the faceplate to ensure water-tightness from periodic splashes of liquids caused through attempted vandalism or cleaning.

      - The camera shall be rated to IP 65 standard against water and dust ingress.

      - The camera shall be rated to IK10 impact.

      - The camera housing shall be equipped with two separate windows, one for IR light transmission and the other for video imaging.

      - The camera shall have pre-harnessed connectors allowing simple plug and play installation.

      - The camera housing shall be made of welded aluminum.

      - The camera shall be powder-coat painted in white.

      - The camera shall operate at a temperature range from -10°C to +50°C (14°F to +122°F).

    - General Characteristics:

      - The camera shall provide Bilinx communication to enable installers to check status, change camera setting and upgrade firmware via the video cable.

      - The camera shall provide six independent pre-programmed operating modes that provide optimized settings for typical applications.

      - The camera shall provide four independent, fully programmable privacy mask areas.

      - The camera shall provide enhanced night viewing through the increase of IR sensitivity by automatically switching a motorized IR filter from color to monochrome operation in low-light or IR illuminated applications.

      - The camera shall provide a CVBS (PAL/NTSC), 1 Vpp, 75 Ohm analog output on BNC connector.

      - The camera shall provide a CVBS (PAL/NTSC), 1 Vpp, 75 Ohm analog output on a 2.5 mm jack connector for installation purposes.

      - The camera shall utilize pixel-by-pixel analysis to automatically compensate for bright areas of a high contrast scene (Backlight) without having to define a window or area.

    - Installation Requirements

      - The camera shall have power and alarm cable connectors which can be removed when the camera is mounted.

      - The camera shall be capable of simultaneous connection to 12 VDC/24 VAC power supplies.

    - Alarm Handling Features:

      - The camera shall provide an active low alarm input.

      - The camera shall provide the capability on alarm to display up to a 16 character, programmable alarm message.

      - The camera shall provide a normally open alarm output. The alarm output can be activated from an external alarm input to the camera, manual activation from the browser, upon video motion detection, or video loss.

    - Motion detection

      - The camera shall offer motion detection with four programmable areas with sensitivity levels.

      - The camera shall display the motion event in the video signal and alarm output can be closed or transmit alarm message via Bilinx.

    - Control Software

      - The camera shall be accessible from a built-in OSD control panel and from Bilinx with VP-USB adapter and Bilinx configuration software.

    - Specifications

      - Electrical:

        - Input voltage:

          - [+12 VDC]

          - [ 24 VAC]

        - Power consumption

          - [6.48 W max. (12 VDC)]

          - [12.24 VA max. (+24 VAC)]

      - Video

        - Image Sensor: 960H, 1/3" CCD, WDR dual shutter

        - Sensor resolution: 720TVL

        - System: PAL or NTSC

        - Total pixels (H x V): 1028 x 596 (PAL); 1028 x 508 (NTSC)

        - Effective pixels (H x V): 976 x 582 (PAL); 976 x 494 (NTSC)

        - Sensitivity:

          - Color: 0.04 lx (0.00372 fc)

          - Mono: 0.0 lx (IR on)

        - Signal-to-noise ratio: 54 dB

        - High Dynamic Range: 94 dB (WDR)

        - True Day/Night: Auto, Color, Monochrome

        - Shutter speed:

          - Automatic Electronic Shutter (AES)

          - Fixed 1/50 (1/60) to 1/100000

          - Flickerless

      - Functions

        - Synchronization: Internal, Line Lock

        - Sensitivity Up: Adjustable from Off up to 10x

        - Dynamic Engine : XF-Dynamic, HDR, Smart BLC

        - Dynamic Noise Reduction: 2D-NR, 3D-NR

        - AGC: AGC On or Off (0 - 40 dB) selectable

        - Smart BLC: On/Off

        - Peak White Invert: On/Off

        - White Balance: ATW Indoor, ATW Outdoor, ATW hold and Manual

        - Contrast Enhancement: Low, Medium, High

        - Sharpness : Sharpness enhancement level selectable

        - Camera ID: 17 character editable string, position selectable

        - Test Pattern: Color bar, Raster, Impulse, Cross Impulse, Cross hatch

        - Modes: 6 preset programmable modes

        - Remote Control: Bilinx coaxial bi-directional communication

        - Video Motion Detection: 4 areas, fully programmable

        - Privacy Masking: 15 independent areas, fully programmable

        - E-Zoom: Up to 16x

        - Digital Image Stabilizer: On/Off

        - OSD Language: English, French, German, Spanish, Portuguese, Simplified Chinese, Russian

      - Night vision

        - IR LEDs: 3 high efficiency LEDs, 940 nm

        - IR coverage: 9 m (30 ft)

      - Lens

        - Lens type: Fixed 2.0 mm, F2.0

        - Lens mount: Board mounted:

        - Horizontal field of view: 139°

        - Vertical field of view: 104°

      - Connection

        - Analog video out BNC connector (1 Vpp CVBS, PAL/NTSC)

        - Analog video out (for installation only): 2.5 mm jack connector (1 Vpp CVBS, NTSC)

        - Alarm input:  0 to 3.3 VDC, low active

        - Alarm output: 60 VDC or 60 VAC (max), load current: 1 A (max)

      - Software Control

        - Unit configuration: Via OSD control panel or Bilinx software

      - Mechanical

        - Dimensions (W x H x D): 240 x 146 x 169 mm (9.45 x 5.75 x 6.65 in.)

        - Weight: 1840 g (4.06 lb) approx.

      - Environmental

        - Operating temperature: -10 ºC to +50 ºC (14 ºF to +122 ºF)

        - Storage temperature: -30 ºC to +60 ºC (-22 ºF to +140 ºF)

        - Humidity: 20% to 90% relative humidity (non condensing)

  - ACCESSORIES

    - Power Supplies

      - UPA-2420-50, 220 VAC, 50 Hz, 24 VAC, 20 VA Out

      - UPA-2430-60, 120 VAC, 60 Hz, 24 VAC, 30 VA Out

    - Components

      - S1460 Service/Monitor Cable

      - NCA-CMT-GF FLEXIDOME corner 9000 Grey faceplate

    - Software Options

      - VP‑CFGSFT Configuration Software

- – EXECUTION

  - EXAMINATION

    - Examine areas to receive devices and notify adverse conditions affecting installation or subsequent operation.

    - Do not begin installation until unacceptable conditions are corrected.

  - PREPARATION

    - Protect devices from damage during construction.

  - INSTALLATION

    - Install devices in accordance with manufacturer’s instruction at locations indicated on the floor drawings plans.

    - Ensure selected location is secure and offers protection from accidental damage.

    - Location must provide reasonable temperature and humidity conditions, free from sources of electrical and electromagnetic interference.

  - FIELD QUALITY CONTROL

    - Test snugness of mounting screws of all installed equipment.

    - Test proper operation of all video system devices.

    - Determine and report all problems to the manufacturer’s customer service department.

  - ADJUSTING

    - Make proper adjustment to video system devices for correct operation in accordance with manufacturer’s instructions.

    - Make any adjustment of camera settings to comply with specific customer’s need.

  - DEMONSTRATION

    - Demonstrate at final inspection that video management system and devices function properly.

END OF SECTION

# Text boxes

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, based on MasterFormat 2004 and The Project Resource Manual—CSI Manual of Practice. The Manufacturer is responsible for technical accuracy.

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Words and sentences within brackets [ ] are choices to include or exclude a particular item or statement.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.